## Slide 1
The principals of Next generation and Third Generation Sequencing
Ass Prof Adam Cribbs

## Slide 2
Sequencing technologies
Refers to methods developed after Sanger sequencing that offer greatly increase throughput at reduced cost per base.
Next Generation Sequencing
Methods newer than NGS are referred to as third generation.
Third Generation Sequencing

## Slide 3
Sequencing technologies

## Slide 4
Illumina sequencing
The Illumina family of sequencers all use sequencing by synthesis (SBS) technology

## Slide 5
Sequencing by synthesis

## Slide 6
Sequencing by synthesis
DNA
or
RNA
Library production
Denaturation
Hybridisation to flowcell
P5
Index 2
Index 1
P7
Adaptors
Sequence of interest

## Slide 7
Hybridisation to flowcell
Reverse
strand
synthesis
Forward
strand
Reverse
strand
Remove forward strand
Only reverse strand is anchored
Reverse strand can hybridise to second primer
Synthesise second strand
Sequencing by synthesis

## Slide 8
Denature
Forward
strand
Reverse
strand
Bridge
Amplification
Sequencing by synthesis

## Slide 9
Thousands of molecules are amplified to form clusters with the same sequence
Sequencing by synthesis

## Slide 10
The reverse strand is cleaved (USER) and washed away, p5 ends are blocked
Sequence
primer
With each cycle, fluorescently tagged nucleotides are incorporated into the growing chains and clusters are imaged
Before the next chemistry cycle proceeds, the blocked 3’ end and the fluorophore from each incorporated base is removed, to allow incorporation of the next base
NextSeq chemistry uses only two
dyes. C is red, T is green, A is both
(yellow) and G has no dye (no
fluorescent signal)
1
2
3
4
5
6
Sequencing by synthesis

## Slide 11
The read product is washed
away
Index 1 is sequenced
The read product is washed
away
Index 1
primer
Hybridise
to P5 oligo
Deblock P5
oligo and add
unlabelled bases
Index 2 is sequenced
Sequencing by synthesis

## Slide 12
Synthesise second
strand
The forward strand is cleaved (Fpg) and washed away
The second
read is
sequenced
Read 2
primer
Sequencing by synthesis

## Slide 13
Library production
Library production will vary depending on what sequencing-based methodology is being performed:
RNA-seq
ChIP-seq
ATAC-seq
scRNA-seq
CUT&TAG-seq

## Slide 14
RNAseq quantitatively interrogates the all the RNA transcripts of a population of cells at a given point in time (transcriptomics)
  In practice, it is difficult (and more costly) to examine all types of RNA simultaneously, so target RNA is specifically isolated
  Also, ~85% of cellular RNA is ribosomal and is usually not of interest
    PolyA selection: Selects almost all protein coding mRNA and some lncRNA
    Ribosomal depletion: Selects all mRNA and lncRNA, but is considerably more expensive than polyA selection
    Small non-coding RNA selection: Selects miRNAs, piRNAs, snoRNAs, snRNAs etc. Method of total RNA extraction is important.
Library production: RNA-seq

## Slide 15
A wide range of commercial RNAseq library prep kits are available, most of which use fairly similar principles
  Illumina produce the TruSeq Stranded mRNA kit
  At the Botnar, we use the more economical NEBNext Ultra II Directional RNA Library Prep Kit for Illumina
    Both of these are stranded or directional protocols, meaning you can tell which strand the mRNA came from
      Some regions of the genome produce overlapping transcripts from opposite strands (one is usually a non-coding antisense regulatory RNA)
      Unstranded library prep could not distinguish between these two transcripts
Library production: RNA-seq

## Slide 16
Library production: RNA-seq
Mixture of mesophilic DNA polymerase
and thermophilic Taq polymerase?
polyT labelled magnetic beads
or
rRNA probes followed by RNAse H digest or bead capture
94°C for ~15 minutes
Reverse transcriptase
DNA polymerase I
AMPure XP paramagnetic beads
T4 DNA Ligase

## Slide 17
PCR primers add P5, P7 and index sequences
AMPure XP paramagnetic beads
T4 DNA Ligase
USER enzyme is a mixture of E. coli uracil DNA glycosylase and endonuclease VIII. Together, these enzymes excise uracils, creating single stranded DNA breaks
Library production: RNA-seq

## Slide 18
ChIPseq allows the mapping of specific proteins or post-translationally modified proteins (particularly histones) to DNA
Open Chromatin

Activation
Condensed Chromatin

Repression
Histone tails can be modified
  Methylation
  Acetyation
  Phosphorylation
Leads to changes in chromatin conformation
This process is regulated by a number of enzymes
  Methyltransferases
  Demethylases
  Acetylases
  Deacetylases
Transcription factors
Chromatin modifiers
Library production: ChIP-seq

## Slide 19
https://www.activemotif.com/catalog/507/chip-it-express-high-throughput
Library production: ChIP-seq

## Slide 20
Protocol the same as RNA library prep from end repair step onwards
Does not need to be stranded (both strands will map to the same location)
Library production: DNA (ChIP-seq, WGS e.c.t.)

## Slide 21
ATACseq (Assay for Transposase-Accessible Chromatin using sequencing) is a technique used to study chromatin accessibility
  It is particularly useful for identifying regulatory regions, e.g. promoters, enhancers, insulators
  It is based on the concept that open chromatin (ie active) is more accessible to attack by Tn5 Transposase
Transposase is loaded with Mosaic End Double-Stranded (MEDS) oligos
Transposase cleaves DNA, append the MEDS to the cut ends and remains bound to DNA
Library production: ATAC-seq

## Slide 22
Extract nuclei from cells/tissue of interest
Incubate with Tn5 for 30 minutes @ 37°C
Maintains chomatin structure while allowing Tn5 access to chromatin
PCR with primers recognising MEDS that add P5, P7 and indexes
Tn5 ratio to DNA is critical
Typically ~65,000 cells / 2.5 ul Tn5
Clean up
AMPure XP beads
Sequence
Genomic DNA for whole genome sequencing
This is how Illumina Nextera kits work
Library production: ATAC-seq

## Slide 23
Dolomite Bio Nadia Innovate
Commercialised version of original Drop-Seq system (Cell. 2015 May 21;161(5):1202-1214.)
System is a microdroplet encapsulator
Allows custom assay development
Can run 1, 2, 4 or 8 lanes in parallel
Library production: single-cell

## Slide 24
Library production: single-cell
10x Chromium
Modified Drop-Seq system, using gel beads and in droplet RT
System is a microdroplet encapsulator
Largely restricted to 10x assays
Can run 1 - 8 lanes in parallel

## Slide 25
Library production: single-cell

## Slide 26
Library production: single-cell (Drop-seq)

## Slide 27
Library production: single-cell (10X)

## Slide 28
Histone H3K27me3 demethylases regulate human Th17 cell development and effector functions by impacting on metabolism
Proc Natl Acad Sci U S A. 2020 Mar 17;117(11):6056-6066.
Single-cell sequencing applications

## Slide 29
Before any libraries can be sequenced, they need to be quantitated and (usually) pooled with other samples
  Loading the right amount of pooled library is critical to optimal sequencing
  Quantitation is performed on the Tapestation and samples are pooled such that they are all equimolar (assuming you want the same number of reads for each sample)
Library production: Quantification and pooling

## Slide 30
BaseSpace is the Illumina web-base software for setting up and retrieving sequencing runs
Setting up Illumina run

## Slide 31
Setting up Illumina run

## Slide 32
Output of an Illumina run

## Slide 33
3rd Generation sequencing
Long read sequencing (longest reported read >4 Mb)
High error rate (3-10%)
Genome sequencing
  Complete and contiguous genome assemblies; de novo or reference guided
  Resolve structural variants, breakpoints and repeat regions
  Detect epigenetic modifications with direct sequencing and eliminate PCR bias
Targeted sequencing
  PCR, hybrid-capture, CRISPR/Cas9 enrichment strategies
  Large genomic regions and entire genes in single reads
  Resolve structural variants, repetitive regions, SNVs and phasing
Gene expression
  Full-length transcripts
    unambiguous identification of splice variants and gene fusions
  Eliminate PCR bias using direct cDNA or direct RNA sequencing
  Identification of anti-sense transcripts and lncRNA isoforms
  Full viral RNA sequence in one read
    Long reads enhance viral identification from metagenomic samples
Oxford Nanopore Sequencing

## Slide 34
https://www.youtube.com/watch?v=RcP85JHLmnI
Oxford Nanopore Sequencing

## Slide 35
Oxford Nanopore Sequencing

## Slide 36
Oxford Nanopore Sequencing

## Slide 37
Array of microscaffolds Each microscaffold supports a membrane and embedded nanopore.
Sensor chip Each microscaffold corresponds to its own electrode that is connected to a channel in the sensor array chip.
Oxford Nanopore Sequencing

## Slide 38
Flush tether
Oxford Nanopore Sequencing

## Slide 39
Motor protein
DNA polymerase (phi29 DNAP)
Helicase
  Unzip dsDNA
  ATP-dependent
  Results in controlled ratcheting of ssDNA into the nanopore
Nanopore
Escherichia coli Curlin sigma S-dependent growth subunit G (CsgG)
Oxford Nanopore Sequencing

## Slide 40
Ionic current flows through the pore
DNA passing through the channel disrupts the flow of ions
MiniION
GridION
PromethION
Oxford Nanopore Sequencing

## Slide 41
Current measured ~5000/second
Changes in current are converted to “squiggles”
Basecalling achieved by machine learning algorithms that identify patterns in the squiggles
Oxford Nanopore Sequencing

## Slide 42
When strand passes fully through pore, motor protein is released and pore can sequence another strand
Oxford Nanopore Sequencing

## Slide 43
Full-length transcript analysis at the single-cell level
Long read sequencing has the power to provide CNV, variant calling, gene expression and translocation/fusion gene analysis
Isoform resolution analysis
It has a high error rate
Barcode and UMI need to be accurate
Illumina sequencing barcode error corrected approach computational

## Slide 44
Error correcting nanopore single-cell sequencing
Philpott et al .. Cribbs. Nature biotechnology 2021

## Slide 45
Direct long-read Nanopore sequencing
Using myeloma cell line mix we can effectively differentiate transcript usage
Example: HLA-DR

## Slide 46
PacBio sequencing

## Slide 47
https://www.youtube.com/watch?v=_lD8JyAbwEo&t=3s
PacBio sequencing